{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["SUPRAVIGILANCIA"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":5,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"SUPRAVIGILANCIA","index":0,"n_rows":29,"n_cols":7,"rows_kept":29,"cut":false,"hidden":false,"merged":[[25,1,27,1],[25,2,27,2],[25,3,27,3],[28,1,30,1],[28,2,30,2],[28,3,30,3]]}
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"PARAMETROS ANALIZADOS",null,null,null,"."]
[null,"Microbiología",null,null,null,null,"."]
[null,"Bacterias  heterotróficas, Coliformes totales, fecales, Escherichia coli.",null,null,null,null,"."]
[null,"Parasitología",null,null,null,null,"."]
[null,"Protozoos y Helmintos, huevos de nematodos intestinales, Giardia y Cryptosporidium, y Acanthamoeba.",null,null,null,null,"."]
[null,"Fisicoquímicos - Metales",null,null,null,null,"."]
[null,"Cloruros, Sulfatos, Dureza Plata, Aluminio, Boro, Bario, Berilio, Cobalto, Cobre, Hierro, Litio, Magnesio, Manganeso, Molibdeno, Sodio, Niquel, Antimonio, Selenio, Silicio, Vanadio, Zinc, Arsénico, Cadmio, Cromo, Plomo",null,null,null,null,"."]
[null,"Parámetros de Campo",null,null,null,null,"."]
[null,"Ph, Temperatura, Conductividad, Oxigeno disuelto, Turbiedad, Alcalinidad, Sólidos Totales Disueltos.",null,null,null,null,"."]
[]
[null,"DATOS DE LA SUPERVISION ",null,null,"."]
[null,"AÑO",":",2013,"."]
[null,"DEPARTAMENTO",":","TUMBES","."]
[null,"DISTRITOS PRIORIZADOS",":","CORRALES, LA CRUZ, PAMPAS DE HOSPITAL, SAN JACINTO, TUMBES, SAN JUAN DE LA VIRGEN","."]
[]
[null,"PARAMETROS DETECTADOS QUE EXCEDEN LMP "]
[null,"LMP DS. 031-2010-SA",":","ARSENICO, HIERRO, MANGANESO"]
[]
[]
[null,"ECA DS. 002-2008-MINAM",":","ALUMINIO, HIERRO, ARSENICO, PLOMO, E. COLI, VANADIO, COLIFORMES TOTALES, COLIFORMES TERMOTOLERANTES, MERCURIO"]